## Test models (hidden)
UDC2000 MiniPro
Test Model Numbers : | Equivallents
DC2001-0-200-0000-00-0000-EN | DC2500-C0-1000-200-00000-00-0
DC2001-1-200-0000-00-0000-FR | DC2500-CB-1000-200-00000-00-0
DC2001-2-200-0000-00-0000-GE | DC2500-CE-1000-200-00000-00-0
DC2003-0-200-0000-00-0000-IT | DC2500-E0-1000-200-00000-00-0
DC2003-1-200-0000-00-0000-IT | DC2500-EB-1000-200-00000-00-0
DC2003-2-200-0000-00-0000-IT | DC2500-EE-1000-200-00000-00-0
DC2004-0-200-0000-00-0000-IT | DC2500-R0-1000-200-00000-00-0
DC2004-1-200-0000-00-0000-IT | DC2500-RB-1000-200-00000-00-0
DC2004-2-200-0000-00-0000-IT | DC2500-RE-1000-200-00000-00-0
DC2005-0-200-0000-00-0000-IT | DC2500-E0-1L00-200-00000-00-0
DC2005-1-200-0000-00-0000-IT | DC2500-EB-1L00-200-00000-00-0
DC2005-2-200-0000-00-0000-IT | DC2500-EE-1000-200-00000-00-0
DC2006-0-200-0000-00-0000-IT | DC2500-E0-1L00-200-00000-00-0
DC2006-1-200-0000-00-0000-IT | DC2500-EB-1L00-200-00000-00-0
DC2006-2-200-0000-00-0000-IT | DC2500-EE-1L00-200-00000-00-0
DC2001-2-01A0-0000-00-0000-SP | DC2500-CE-0000-210-00000-00-0
DC2001-0-00B0-0000-00-0000-EN | DC2500-C0-0B00-200-00000-00-0
DC2003-1-00A0-0000-01-0000-EN | DC2500-AB-0000-100-00000-00-0
DC2004-2-21B0-0000-10-0000-EN | 10 Amps SSR option not available on the 2500.
DC2004-2-21B0-0000-89-0000-EN | No rear terminal cover available on the 2500
DC2004-2-21B0-0000-ST-0000-EN | You should consult order entry or marketing.
DC2003-2-21B0-0000-24-0000-FR | DC2501-EE-1B00-210-00000-00-0
UDC2000 Restyled
Test Model Numbers : | Equivallents
DC200C-1-210-1C0T00-0 | DC2500-CE-1000-210-0T000-00-0
DC200C-2-00A-1F0000-0-EN | DC2500-CE-0000-200-10000-00-0
DC200C-3-00B-2D0T00-0-FR | DC2500-CE-0B00-200-1T000-00-0
DC200C-4-21D-2U0000-0-SP | DC2500-CE-1A00-210-00000-00-0
DC200C-0-00E-100000-0-IT | DC2500-C0-0B00-200-00000-00-0
DC200C-2-01F-2F0000-0-GE | DC2500-CE-0A00-210-10000-00-0
DC200E-2-00G-1C0000-0-IT | DC2500-EE-0B00-200-00000-00-0
DC200A-2-00G-1C0000-0-IT | DC2500-AE-0B00-200-00000-00-0
DC200T-0-00E-100000-0-IT | DC2500-T0-0B00-200-00000-00-0
DC200H-4-21D-2U0000-0-SP | DC2500-EE-1L00-210-00000-00-0
DC200L-0-00E-100000-0-IT | DC2500-E0-0L00-200-00000-00-0
DC200I-0-000-1C0000-0-GE | DC2500-00-0000-200-00000-00-0
UDC2300
Test Model Numbers : | Equivallents
DC230B-C0-00-10-0000000-20-0 | DC2500-C0-0000-200-00000-00-0
DC230B-CE-00-10-0000000-20-0 | DC2500-CE-0000-200-00000-00-0
DC230B-CA-00-10-0000000-20-0 | DC2500-CA-0000-200-00000-00-0
DC230B-CS-00-10-0000000-20-0 | No 10 amps
DC230B-CT-00-10-0000000-20-0 | DC2500-CT-0000-200-00000-00-0
DC230B-EE-00-10-0000000-20-0 | DC2500-EE-0000-200-00000-00-0
DC230B-R0-00-10-0000000-20-0 | No 10A
DC230B-AA-00-10-0000000-20-0 | DC2500-AA-0000-200-00000-00-0
DC230B-SE-00-10-0000000-20-0 | No 10 amps
DC230B-TE-00-10-0000000-20-0 | DC2500-TE-0000-200-00000-00-0
DC230L-RE-00-10-0000000-20-0 | No 10 amps
DC230L-0E-00-10-0000000-20-0 | DC2500-0E-0L00-200-00000-00-0
DC230I-0E-00-10-0000000-20-0 | DC2500-0E-0000-200-00000-00-0
DC230B-CE-1A-21-0000000-20-0 | DC2500-CE-2A00-310-00000-00-0
DC230B-CE-2B-10-0000000-20-0 | DC2500-CE-1B00-200-00000-00-0
DC230B-CE-00-10-1000000-20-0 | DC2501-CE-0000-200-00000-00-0
DC230B-CE-00-10-0AT0000-20-0 | DC2500-CE-0000-200-1T000-00-0
DC230B-CE-00-10-0B00000-20-0 | DC2500-CE-0000-200-00000-00-0
DC230B-CE-00-10-000P000-20-0 | No rear terminal cover available
DC230B-CE-00-10-0000B00-20-0 | Only Grey elastomer available
DC230B-CE-00-10-0000T00-20-0 | Only Grey elastomer available
UDC3000 Versa-Pro
Test Model Numbers : | Equivallents
DC3001-0-02A-2-89-0000-FR | DC3200-C0-000R-210-10000-00-0 | Note : no rear terminal cover
DC3002-0-100-1-00-0000-EN | DC3200-CE-200R-100-10000-00-0
DC3003-0-40A-1-00-0000-FR |  | Note : DMCS comms not available
DC3003-0-10A-1-00-0000-FR | DC3200-EE-200R-100-10000-00-0
DC3004-0-21B-2-89-0000-IT | DC3200-EE-1B0R-210-10000-00-0
DC3005-0-32B-1-00-0000-SW |  | The UDC3200 can't be a limit controller
DC3006-0-32B-1-00-0000-SW |  | The UDC3200 can't be a limit controller
UDC3000 Restyled
Test Model Numbers : | Equivallents
DC300C-0-100-11-0000-0-00 | DC3200-C0-200R-110-00000-00-0
DC300K-E-2A3-31-10P0-0-GE | DC3201-CB-100R-310-00000-00-0
DC300E-A-4B0-10-00T0-0-EN | DC3200-EA-?B0R-100-0T000-00-0 | No DMCS
DC300E-A-2B0-10-00T0-0-EN | DC3200-EA-1B0R-100-0T000-00-0
DC300E-A-EB0-10-00T0-0-EN | DC3200-EA-2B0R-100-0T000-00-0
DC300A-T-203-10-0A0D-0-IT | DC3200-AT-100R-100-10000-00-0
DC300T-0-000-10-0000-0-IT | DC3200-TB-000R-100-00000-00-0
DC300L-0-000-10-0000-0-EN
UDC3300
Test Model Numbers : | Equivallents
DC330B-C0-000-10-000000-00-0 | DC3200-C0-000R-100-00000-00-0
DC330B-C0-000-10-000000-20-0 | DC3200-C0-000R-100-00000-00-0
DC330B-KE-110-10-000000-20-0 | DC3200-CE-2?0R-100-00000-00-0 | Healthwatch is not supported
DC330B-KE-200-10-000000-20-0 | DC3200-CE-100R-100-00000-00-0
DC330B-KE-400-10-000000-20-0 | DC3200-CE-?00R-100-00000-00-0 | No DMCS
DC330B-KE-500-10-000000-20-0 | DC3200-CE-200R-100-00000-00-0
DC330B-KE-5B0-10-000000-20-0 | DC3200-CE-2B0R-100-00000-00-0
DC330B-KE-5B3-10-000000-20-0 | DC3200-CE-2B0R-100-00000-00-0
DC330B-KE-5B3-20-000000-20-0 | DC3200-CE-2B0R-200-00000-00-0
DC330B-KE-5B3-30-000000-20-0 | DC3200-CE-2B0R-300-00000-00-0
DC330B-KE-5B3-16-000000-20-0 | DC3200-CE-2B0R-160-00000-00-0
DC330B-KE-000-11-000000-00-0 | DC3200-CE-000R-110-00000-00-0
DC330B-KE-000-12-000000-00-0 | DC3200-CE-000R-140-00000-00-0
DC330B-KE-000-13-000000-00-0 | DC3200-CE-000R-120-00000-00-0
DC330B-KE-000-13-100000-00-0 | DC3201-CE-000R-120-00000-00-0
DC330B-KE-000-13-0A0000-00-0 | DC3200-CE-000R-120-10000-00-0
DC330B-KE-000-13-00T000-00-0 | DC3200-CE-000R-120-00000-00-0
DC330B-KE-000-13-000T00-00-0 | DC3200-CE-000R-120-0T000-00-0
DC330B-KE-000-13-000U00-00-0 | DC3200-CE-000R-120-0T000-00-0
DC330B-KE-000-13-0000D0-00-0 | DC3200-CE-000R-120-00000-00-0
DC330B-KE-000-13-000000-0C-0 | DC3200-CE-000R-120-00000-0C-0
UDC6300
Test Model Numbers : | Equivallents
PC6302-S-2D0-41-T-0E | DC3501-EE-2A20-122-0T000-0E-0
PC6301-U-000-40-0-02 | DC3500-C0-0000-122-00000-00-0
PC6301-U-200-40-0-02 | DC3500-C0-2000-122-00000-00-0
PC6302-S-000-41-0-0E | DC3501-EE-1000-122-00000-0E-0

## Automatic Conversion
| Enter a UDC2000/2300/3000/3300 Model Nr: |  | PC6303-U-0DP-52-0-0E
| NGC Controller equivallent : |  |  | Price :
Note :
1 ) | Enter the UDC2300, UDC200x (mini-pro or restyled), UDC3300, UDC300x (VersaPro or restyled) or UDC6300 model number in the yellow cell.
In the case of a UDC6300 equivallent, the model proposed is a best choice proposal. As the specs of the 6300 & 3500 differ, you should check that
the proposed model matches the requirements of the application.
2 ) | Press on the "Convert to NGC Controller" button.
3 ) | This tool will convert to the new model number on the like for like basis.
Do not forget to highlight the new functionalities available on this controller :
Ethernet communication
InfraRed communication
Modbus communication (This is a new feature if the customer had a DC200x or DC300x model)
PC Configuration tool
More Input/Outputs.
2 Digital inputs
| Note : | If you get a "?" in the equivalent UDC2500/3200/3500 model number it means you have entered an invalid UDC selection
The corresponding digit of the UDC2500/3200/3500 could not be determined
The note Cell gives info on what problems/restrictions you might have.

## Automatic Conversion (2) (hidden)
Sample Model Numbers :
Enter UDC2300 or 3300 Model Number : | [13 empty] | DC230B-EE-1A-10-1000000-FC-0 | [7 empty] | DC230B-EE-1A-10-0000000-FC-0
DC230B-EE-1A-10-1000000-FC-0
NGC Controller equivallent : | [13 empty] | DC2501-EE-1A0-20-00000-FC
DC250 | x | - | x | x | - | x | x | x | - | x | x | - | x | x | x | x | x | - | x | x
Table 0
| 0 | If Table IV 0xxxxxx
| 1 | If Table IV 1xxxxxx
Table I
|  |  | 0 | If Table I 0x
|  |  | C | If Table I Cx
|  |  | E | If Table I Ex
|  |  | A | If Table I Ax
|  |  | T | If Table I Tx
|  |  | R | Not available on the UDC2300
|  |  |  | 0 | If Table I x0
|  |  |  | E | If Table I xE
|  |  |  | A | If Table I xA
|  |  |  | T | If Table I xT
Table II
[6 empty] | 0 | It Table II 0x
[6 empty] | 1 | If Table II 2x
[6 empty] | 2 | If Table II 1x
[6 empty] | 3 | Not available on the UDC2300
[6 empty] | 4 | Not available on the UDC2300
[6 empty] | 5 | Not available on the UDC2300
[7 empty] | 0 | If Table II x0
[7 empty] | A | If Table II xA
[7 empty] | B | If Table II xB
[7 empty] | L | If Key Number = DC230L
[8 empty] | 0 | Select 0
[8 empty] | R | Not available on the UDC2300
Table III
[10 empty] | 1 | If Table III 1x
[10 empty] | 2 | If Table III 1x
[10 empty] | 3 | If Table III 2x
[11 empty] | 0 | If Table III x0
[11 empty] | 1 | If Table III x1
Table IV
[13 empty] | 0 | If Table IV x0xxxxx or Table IV xBxxxxx
[13 empty] | 1 | If Table IV xAxxxxx
[14 empty] | 0 | If Table IV xx0xxxx
[14 empty] | T | Not available on the UDC2300
[14 empty] | S | If Table IV xxTxxxx
[15 empty] | 0 | Select 0
[16 empty] | 0 | Select 0
[17 empty] | 0 | Select 0
Table V
[19 empty] | E | If Table V 0x
[19 empty] | F | If Table V Fx
[19 empty] | G | If Table V Gx
[19 empty] | I | If Table V Ix
[19 empty] | S | If Table V Sx
[20 empty] | 0 | If Table V x0
[20 empty] | C | If Table V xC

## AC 3500 (hidden)
Digital Controller for use with 90 to 264Vac Power + Current Output #1 |  | DC3500 | DC3500 | 590 | 590 | 1480
Digital Controller for use with 24Vac/dc Power + Current Output #1 |  | DC3501 |  | 610
TABLE I - Specify optional Output and/or Alarms
Output #2 | None | 0 | E | 0 | 20
| Current Output (4 to 20mA, 0 to 20 mA) (Current Output #3) | A |  | 20
| Electro Mechanical Relay (5 Amp Form C) | C |  | 20
| Solid State 1 Amp (Zero-Crossing Type) | E |  | 20
| Open Collector transistor output | R |  | 50
| Dual 2 Amp Relays (Form A) (Heat/Cool, Pos Prop, TPSC, Relays 1 & 2) | T |  | 20
Relay Outputs #3, #4 and #5 | None | 0 | E | 0 | 40
| Three (3) E-M Relay (5 Amp Form C) | E |  | 40
TABLE II - Communications and Software Selections
Communications | None | 0 | 1 | 0 | 240
| Current Output #2 + (4) Digital Inputs | 1 |  | 240
| Current Output #2 + (4) Digital Inputs + Modbus RS-485 | 2 |  | 285
| 10 Base-T Ethernet (Modbus RTU) + (4) Digital Inputs | 3 |  | 285
Software Selections | Standard Functions, Includes Accutune | 0 | A | 0 | 153
| Math Option | A |  | 153
| Set Point Programming (1 Program, 20 Segments) | B |  | 66
| Set Point Programming Plus Math | C |  | 220
| HealthWatch | D |  | 66
| SPP + HealthWatch | E |  | 112
| Math + HealthWatch | F |  | 205
| SPP + Math + HealthWatch | G |  | 255
Loops of Control | Single Loop | 0 | 2 | 0 | 153
| 2 Loops + Internal Cascade | 2 |  | 153
Real-Time Clock | None | 0 | 0 | 0 | 0
| Real-Time Clock (RTC) | C |  | 30
TABLE III - Input types can be changed in the field
Input 1 | TC, RTD, mV, 0-5V, 1-5V | 1 | 1 | 0 | 0
| TC, RTD, mV, 0-5V, 1-5V, 0-20mA, 4-20mA | 2 |  | 10
| TC, RTD, mV, 0-5V, 1-5V, 0-20mA, 4-20mA, -1-1V, 0-10V | 3 |  | 41
| Relative Humidity (Requires Input 2) | 15 |  | 127
| Carbon, Oxygen or Dewpoint (Requires Input 2) | 16 |  | 220
Input 2 | None | 0 | 3 | 0 | 137
| TC, RTD, mV, 0-5V, 1-5V, 0-20mA, 4-20mA | 1 |  | 127
| TC, RTD, mV, 0-5V, 1-5V, 0-20mA, 4-20mA, -1-1V, 0-10V | 2 |  | 163
| Two HLAI instead of 1 LLAI | 3 |  | 137
Input 3 | None | 0 | 3 | 0 | 137
| TC, RTD, mV, 0-5V, 1-5V, 0-20mA, 4-20mA | 1 |  | 127
| TC, RTD, mV, 0-5V, 1-5V, 0-20mA, 4-20mA, -1-1V, 0-10V | 2 |  | 163
| Two HLAI instead of 1 LLAI | 3 |  | 137
| Slidewire Input for Position Prop. (Requires Dual Relay Output) | 4 |  | 127
TABLE IV - Options
Approvals | CE (Standard) | 0 | 0 | 0 | 0
| CE, UL and CSA | 1 |  | 30
Tags | None | 0 | 0 | 0 | 0
| Stainless Steel Customer ID Tag - 3 lines w/22 characters/line | T |  | 40
Future Options | None | 0 | 0 | 0
| None | 0 | 0 | 0
| None | 0 | 0 | 0
TABLE V - Product Manuals
Manuals | Product Information on CD - (English) | 0 | E | 0 | 10
| English Manual (Hard Copy) | E |  | 10
| French Manual (Hard Copy) | F
| German Manual (Hard Copy) | G
| Italian Manual (Hard Copy) | I
| Spanish Manual (Hard Copy) | S
Certificate | None | 0 | 0 | 0 | 0
| Certificate of Conformance (F3391) | C |  | 30
TABLE VI
| None | 0 | 0 | 0

## 2300 to 2500
DC2300 to 2500 model conversion
| DC2300 Numbers |  |  |  | UDC2500 Number
Table I
|  | 1st Digit |  | Use | Same except for R and S which are not available on the UDC2500
|  | 2nd Digit |  | Use | Same except for S which is not available on the UDC2500
Table II
|  | 1st Digit | 0x | Use | Same -0x00-
|  |  | 1x | Use | -2x00-
|  |  | 2x | Use | -1x00-
|  | 2nd Digit |  | Use | Same -x_0- except if DC230L, then use -xL0-
Table III
|  | 1st Digit | 1x | Use | -2 x 0-
|  |  | 2x | Use | -3 x 0-
|  | 2nd Digit |  | Use | Same
Table IV
|  | 1st Digit | 0xxxxxx | Use | Key Number is DC2500
|  |  | 1xxxxxx | Use | Key Number is DC2501
|  | 2nd Digit | x0xxxxx | Use | 0x000
|  |  | xAxxxxx | Use | 1x000 if limit model, 0x000 otherwise
|  |  | xBxxxxx | Use | 0x000
|  | 3rd Digit | xx0xxxx | Use | x0000
|  |  | xxTxxxx | Use | xT000
Table V
|  | 1st Digit | 2x | Use | -0 x
|  |  | 0x | Use | -E x
|  |  | Else | Use | Same
|  | 2nd Digit |  | Use | Same except -xS- : consult Marketing

## 2000 to 2500 (Restyled)
Restyled DC2000 to 2500 model conversion
Based on 1998 Model Selection Guide
| Restyled DC2000 Numbers |  |  |  | UDC2500 Number
Key Number
|  | DC200C |  | Use | Table I -C x-
|  | DC200E |  | Use | Table I -E x-
|  | DC200A |  | Use | Table I -A x-
|  | DC200T |  | Use | Table I -T x-
|  | DC200H |  | Use | Table I -E x- Table II - x L x x -
|  | DC200L |  | Use | Table I -E x- Table II - x L x x -
|  | DC200I |  | Use | Table I -0 x-
Table I
|  | 1st Digit | 0 | Use | Table I - x 0-
|  |  | 1 | Use | Table I - x E-
|  |  | 2 | Use | Table I - x E-
|  |  | 3 | Use | Table I - x E-
|  |  | 4 | Use | Table I - x E-
Table II
|  | 1st Digit | 0xxx | Use | -0 x x x -
|  |  | 2xxx | Use | -1 x x x -
|  | 2nd Digit | x0xx | Use | Table III - x 0 0 -
|  |  | x1xx | Use | Table III - x 1 0 -
|  | 3rd Digit | xx0x | Use | Table II - x 0 x x -
|  |  | xxAx | Use | Table II - x 0 x x -
|  |  | xxBx | Use | Table II - x B x x -
|  |  | xxDx | Use | Table II - x A x x -
|  |  | xxEx | Use | Table II - x B x x -
|  |  | xxFx | Use | Table II - x A x x -
|  |  | xxGx | Use | Table II - x B x x -
Table III
|  | 2nd Digit | x0xxxx | Use | Table IV - 0 x x x x -
|  |  | xFxxxx | Use | Table IV - 1 x x x x - only available if key is DC200H or DC200L
|  |  | xCxxxx | Use | Table IV - 0 x x x x -
|  |  | xDxxxx | Use | Table IV - 1 x x x x - only available if key is DC200H or DC200L
|  |  | xTxxxx | Use | No TUV certification available
|  |  | xAxxxx | Use | No TUV certification available
|  |  | xUxxxx | Use | Table IV - 0 x x x x -
|  | 3rd Digit | xx0xxx | Use | Not available on the UDC2500
|  |  | xx1xxx | Use | Not available on the UDC2500
|  |  | xx2xxx | Use | Not available on the UDC2500
|  | 4th Digit | xxx0xx | Use | Table IV - x 0 x x x -
|  |  | xxxTxx | Use | Table IV - x T x x x -
|  |  | xxxPxx | Use | Not available on the UDC2500
|  |  | xxxUxx | Use | Not available on the UDC2500
|  | 5th/6th Digit | xxxxST | Use | Consult order entry / Marketing
Table V
|  |  | EN, FR, GE, IT, SP | Use | Table V - 0 x -

## 2000 to 2500 (Mini-Pro)
DC2000 to 2500 model conversion
Based on 1993 Model Selection Guide
| DC2000 Mini-Pro Numbers |  |  |  | UDC2500 Number
Key Number
|  | DC2001 |  | Use | Table I -C x-
|  | DC2003 |  | Use | Table I -E x-
|  | DC2004 |  | Use | Table I -R x- (note : Form A relays are being used)
|  | DC2005 |  | Use | Table I -E x- Table II - x L x x -
|  | DC2006 |  | Use | Table I -E x- Table II - x L x x -
Table I
|  | 1st Digit | 0 | Use | Table I - x 0-
|  |  | 1 | Use | Table I - x B-
|  |  | 2 | Use | Table I - x E-
Table II
|  | 1st Digit | 0xxx | Use | -0 x x x -
|  |  | 2xxx | Use | -1 x x x -
|  | 2nd Digit | x0xx | Use | Table III - x 0 0 -
|  |  | x1xx | Use | Table III - x 1 0 -
|  | 3rd Digit | xx0x | Use | Table II - x 0 x x -
|  |  | xxAx | Use | Table II - x A x x -
|  |  | xxBx | Use | Table II - x B x x -
Table IV
|  | 1st Digit | 01 | Use | Table I - x A -
|  |  | 10 | Use | Not Available (Rear Terminal cover)
|  |  | 89 | Use | Not Available (Rear Terminal cover)
|  |  | 24 | Use | Key number is DC2501, otherwise use DC2500
|  |  | ST | Use | Consult order entry / Marketing
Table VI
|  |  | EN, FR, GE, IT, SP | Use | Table V - 0 x -
|  |  | SW | Use | Not available, use Table V - 0 x -

## 3300 to 3200
DC3300 to 3200 model conversion
| DC3300 Numbers |  |  |  | UDC3200 Number
Key Number
|  | DC330B |  |  | You need a 3200 or 3201 controller, you are on the correct tab !
|  | DC330E |  |  | Select UDC3500 (Not yet available)
|  | DC330L |  |  | Limit Controller : Not available on the 3200.
|  | DC330D |  |  | DMCS Communication : Not available on the 3200.
Table I
|  | 1st Digit | C0 | Use | Table I : -C0-
|  |  | K0 | Use | Table I : -CB-
|  |  | E0 | Use | Table I : -EB-
|  |  | A0 | Use | Table I : -A0-
|  |  | S | Use | Not available on the 3200
|  |  | K | Use | Table I : -Cx-
|  |  | E | Use | Table I : -Ex-
|  |  | A | Use | Table I : -Ax-
|  |  | S | Use | Not available on the 3200
|  |  | T | Use | Table I : -Tx-
|  | 2nd Digit | E | Use | Table I : -xE-
|  |  | A | Use | Table I : -xA-
|  |  | S | Use | Not available on the 3200
|  |  | T | Use | Table I : -xT-
Table II
|  | 1st Digit | 0 | Use | Table II : -0x0R-
|  |  | 1 | Use | Table II : -2x0R-
|  |  | 2 | Use | Table II : -1x0R-
|  |  | 5 | Use | Table II : -2x0R-
|  | 2nd Digit | 0 | Use | Table II : -x00R-
|  |  | B | Use | Table II : -xA0R-
|  |  | C | Use | Table II : -xC0R-
|  | 3rd Digit | 0 | Use | Nothing to do.
|  |  | 3 | Use | If Table II : -0x0R- then select Table II : -1x0R- else nothing to do.
|  |  | B | Use | If Table II : -0x0R- then select Table II : -1x0R- else nothing to do.
Table III
|  | 1st Digit | 1 | Use | Table III : -1xx-
|  |  | 2 | Use | Table III : -2xx-
|  |  | 3 | Use | Table III : -3xx-
|  |  | 16 | Use | Table III : -160-
|  | 2nd Digit | 0 | Use | Table III : -x00-
|  |  | 1 | Use | Table III : -11x-
|  |  | 2 | Use | Table III : -x40- note : requires 2 relay outputs
|  |  | 3 | Use | Table III : -x20-
Table IV
|  | 1st Digit | 0 | Use | Key number : DC3200
|  |  | 1 | Use | Key number : DC3201
|  | 2nd Digit | 0 | Use | Table IV : -0x000-
|  |  | A | Use | FM not available, for UL/CSA : Table IV : -1x000-
|  |  | F | Use | FM not available
|  | 3rd Digit | 0 | Use | Nothing, Gray is standard
|  |  | B | Use | Nothing, Gray is standard
|  |  | T | Use | Nothing, Gray is standard
|  | 4th Digit | 0 | Use | Nothing
|  |  | P | Use | No rear terminal cover on the 3200
|  |  | T | Use | Table IV : -xT000-
|  |  | U | Use | No rear terminal cover on the 3200
|  | 5th Digit | 0 | Use | Nothing
|  |  | D | Use | No DIN Cutout adapter available
Table V
|  | 1st Digit | 0 | Use | Table V -0x-
|  |  | F | Use | Table V -0x-
|  |  | G | Use | Table V -0x-
|  |  | I | Use | Table V -0x-
|  |  | S | Use | Table V -0x-
|  |  | E | Use | Table V -Ex-
|  | 2nd Digit | 0 | Use | Table V : -x0-
|  |  | C | Use | Table V : -xC-
|  |  | S | Use | Not available on the 3200

## 330L to 2500
DC330L to 2500 model conversion
| DC330L Numbers |  |  |  | UDC2500 Number
Key Number
|  | DC330L |  |  | Limit Controller : Select a DC2500
Table I
|  | 1st&2nd Digit | E0 | Use | Table I : -EB-
|  |  | EE | Use | Table I : -EE-
Table II
|  | 1st Digit | 0 | Use | Table II : -0L0R-
|  |  | 1 | Use | Table II : -2L0R-
|  |  | 4 | Use | DMCS Communication not available on the 2500
|  |  | 5 | Use | Table II : -2L0R-
|  | 3rd Digit | 0 | Use | Nothing to do.
|  |  | 3 | Use | If Table II : -0L0R- then select Table II : -1L0R- else nothing to do.
|  |  | B | Use | If Table II : -0L0R- then select Table II : -1L0R- else nothing to do.
Table III
|  | 1st Digit | 1 | Use | Table III : -1xx-
|  |  | 2 | Use | Table III : -2xx-
|  |  | 3 | Use | Table III : -3xx-
Table IV
|  | 1st Digit | 0 | Use | Key number : DC2500
|  |  | 1 | Use | Key number : DC2501
|  | 2nd Digit | 0 | Use | Table IV : -0x000-
|  |  | A | Use | Table IV -1x000-
|  |  | F | Use | Table IV -1x000-
|  | 3rd Digit | 0 | Use | Nothing, Gray is standard
|  |  | B | Use | Nothing, Gray is standard
|  |  | T | Use | Nothing, Gray is standard
|  | 4th Digit | 0 | Use | Nothing
|  |  | P | Use | No rear terminal cover on the 2500
|  |  | T | Use | Table IV : -xT000-
|  |  | U | Use | No rear terminal cover on the 2500
|  | 5th Digit | 0 | Use | Nothing
|  |  | D | Use | No DIN Cutout adapter available
Table V
|  | 1st Digit | 0 | Use | Table V -0x-
|  |  | F | Use | Table V -0x-
|  |  | G | Use | Table V -0x-
|  |  | I | Use | Table V -0x-
|  |  | S | Use | Table V -0x-
|  |  | E | Use | Table V -Ex-
|  | 2nd Digit | 0 | Use | Table V : -x0-
|  |  | C | Use | Table V : -xC-
|  |  | S | Use | Not available on the 2500

## 3000 to 3200 (Restyled)
Restyled DC3000 to 3200 model conversion
| DC3000 Numbers |  |  |  | UDC3200 Number
Key Number
|  | DC300C |  |  | Table I : -C0-
|  | DC300K |  |  | Table I : -CB- The "B" can be changed later if needed.
|  | DC300E |  |  | Table I: -EB- The "B" can be changed later if needed.
|  | DC300A |  |  | Table I : -AB- The "B" can be changed later if needed.
|  | DC300T |  |  | Table I : -TB- The "B" can be changed later if needed.
|  | DC330L |  |  | Limit Controller : Not available on the 3200.
Table I
|  |  | E | Use | Table I : -xE-
|  |  | A | Use | Table I : -xA-
|  |  | T | Use | Table I : -xT-
|  |  | L | Use | Limit Controller : Not available on the 3200.
Table II
|  | 1st Digit | 0 | Use | Table II : -0x0R-
|  |  | 1 | Use | Table II : -2x0R- : Note : this is Modbus RTU, not ASCII
|  |  | 2 | Use | Table II : -1x0R-
|  |  | 4 | Use | DMCS Communication : Not available on the 3200.
|  |  | E | Use | Table II : -2x0R-
|  | 2nd Digit | 0 | Use | Table II : -x00R-
|  |  | A | Use | Table II : -x00R-
|  |  | B | Use | Table II : -xB0R-
|  | 3rd Digit | 0 | Use | Nothing to do.
|  |  | 3 | Use | If nothing on Table II, 1st digit then Table II : -1xxx- else nothing to do
Table III
|  | 1st Digit | 1 | Use | Table III : -1xx-
|  |  | 2 | Use | Table III : -2xx-
|  |  | 3 | Use | Table III : -3xx-
|  | 2nd Digit | 0 | Use | Table III : -x00-
|  |  | 1 | Use | Table III : -x10-
|  |  | 2 | Use | Table III : -x40-
Table IV
|  | 2nd Digit | 0 | Use | Table IV : -0x000-
|  |  | A | Use | FM not available, for UL/CSA : Table IV : -1x000-
|  |  | F | Use | FM not available
|  | 3rd Digit | 0 | Use | Nothing to do.
|  |  | P | Use | No rear terminal cover on the 3200
|  |  | T | Use | Table IV : -xT000-
|  |  | U | Use | No rear terminal cover on the 3200
|  | 4th Digit | 0 | Use | Nothing
|  |  | D | Use | No DIN Cutout adapter available

## 3000 to 3200 (Versa Pro)
DC3000 to 3200 model conversion
| DC3000 Numbers |  |  |  | UDC3200 Number
Key Number
|  | DC3001 |  |  | Table I : -C0-
|  | DC3002 |  |  | Table I : -CE-
|  | DC3003 |  |  | Table I: -EE-
|  | DC3004 |  |  | Table I: -EE- + Table III : -x40-
|  | DC3005 |  |  | Limit Controller : Not available on the 3200.
|  | DC3306 |  |  | Limit Controller : Not available on the 3200.
Table I
|  |  | 0 | Use | Nothing to do
Table II
|  | 1st Digit | 0 | Use | Table II : -0x0R-
|  |  | 1 | Use | Table II : -2x0R- : Note : this is Modbus RTU, not ASCII
|  |  | 2 | Use | Table II : -1x0R-
|  |  | 3 | Use | Table II : -1x0R-
|  |  | 4 | Use | DMCS Communication : Not available on the 3200.
|  | 2nd Digit | 0 | Use | Table III : -x00-
|  |  | 1 | Use | Table III : -x10-
|  |  | 2 | Use | Table III : -x10-
|  | 3rd Digit | 0 | Use | Table II : -x00R-
|  |  | A | Use | Table II : -x00R-
|  |  | B | Use | Table II : -xB0R-
Table III
|  |  | 1 | Use | Table III : -1xx-
|  |  | 2 | Use | Table III : -1xx-
|  |  | 3 | Use | Table III : -3xx-
Table IV
|  |  | 00 | Use | Nothing
|  |  | 89 | Use | Rear terminal cover

## 330E to 3500
DC3300 to 3200 model conversion
| DC3300 Numbers |  |  |  | UDC3200 Number
Key Number
|  | DC330B |  |  | You need a 3200 or 3201 controller, you are not on the correct tab !
|  | DC330E |  |  | Select UDC3500
|  | DC330L |  |  | You need a 2500 or 2501
|  | DC330D |  |  | DMCS Communication : Not available on the NGC
Table I
|  | 1st Digit | C0 | Use | Not possible
|  |  | K0 | Use | Table I : -0E-
|  |  | E0 | Use | Table I : -EE-
|  |  | A0 | Use | Table I : -AE-
|  |  | S | Use | Not available on the 3500
|  |  | K | Use | Table I : -0x-
|  |  | E | Use | Table I : -Ex-
|  |  | A | Use | Table I : -Ax-
|  |  | T | Use | Table I : -Tx-
|  | 2nd Digit | 0 | Use | Table I : -x0-
|  |  | E | Use | Table I : -xE-
|  |  | A | Use | Not available on the 3500
|  |  | S | Use | Not available on the 3500
|  |  | T | Use | Not available on the 3500
Table II
|  | 1st Digit | 0 | Use | Table II : -0xxx-
|  |  | 1 | Use | Table II : -2xxx-
|  |  | 2 | Use | Table II : -1xxx-
|  |  | 4 | Use | Not available on the 3500
|  |  | 5 | Use | Table II : -2xxx-
|  | 2nd Digit | 0 | Use | Table II : -x00x-
|  |  | 1 | Use | Table II : -xD0x-
|  |  | C | Use | Table II : -xC0x-
|  |  | D | Use | Table II : -xB2x-
|  |  | E | Use | Table II : -xC2x-
|  |  | F | Use | Table II : -xG0x-
|  |  | G | Use | Table II : -xE2x-
|  |  | H | Use | Table II : -xH2x-
|  | 3rd Digit | 0 | Use | Nothing to do.
|  |  | 3 | Use | If Table II -0xxx- then Table II -1xxx- otherwise nothing to do
Table III
|  | 1st Digit | 1 | Use | Table III : -1xx-
|  |  | 2 | Use | Table III : -2xx-
|  |  | 3 | Use | Table III : -3xx-
|  |  | 15 | Use | Table III : -15x-
|  |  | 16 | Use | Table III : -16x-
|  | 2nd Digit | 0 | Use | Table III : -x00-
|  |  | 1 | Use | Table III : -x10-
|  |  | 2 | Use | Table III : -xx4- note : requires dual relay output
|  |  | 3 | Use | Table III : -x20-
|  |  | 4 | Use | Table III : -x30-
Table IV
|  | 1st Digit | 0 | Use | Key number : DC3500
|  |  | 1 | Use | Key number : DC3501
|  | 2nd Digit | 0 | Use | Table IV : -0xxxx-
|  |  | A | Use | FM not available, for UL/CSA : Table IV : -1xxxx-
|  |  | F | Use | FM not available, for UL : Table IV : -1xxxx-
|  | 3rd Digit | 0 | Use | Nothing, Gray is standard
|  |  | B | Use | Nothing, Gray is standard
|  |  | T | Use | Nothing, Gray is standard
|  | 4th Digit | 0 | Use | Nothing so Table IV : -x0000-
|  |  | P | Use | No rear terminal cover on the 3500, so Table IV : -x0000-
|  |  | T | Use | Table IV : -xT000-
|  |  | U | Use | No rear terminal cover on the 3500, just TAG so Table IV : -xT000-
|  | 5th Digit | 0 | Use | Nothing
|  |  | D | Use | No DIN Cutout adapter available
Table V
|  | 1st Digit | 2 | Use | Table V -0x-
|  |  | F | Use | Table V -0x-
|  |  | G | Use | Table V -0x-
|  |  | I | Use | Table V -0x-
|  |  | S | Use | Table V -0x-
|  |  | E | Use | Table V -Ex-
|  | 2nd Digit | 0 | Use | Table V : -x0-
|  |  | C | Use | Table V : -xC-
|  |  | S | Use | Not available on the 3500
|  |  | B | Use | Not available on the 3500

## 6300 to 3500
DC6300 to 3500 model conversion
| UDC6300 Numbers |  |  |  | UDC3500 Number
Key Number
|  | PC6301 |  |  | Table I : -C0-
|  | PC6302 |  |  | Table I : -EE-
|  | PC6303 |  |  | Table I : -EE-
|  | PC6304 |  |  | Table I : -00-
|  | PC6305 |  |  | Table I : -EE-
|  | PC6306 |  |  | Table I : -EE-
Table I
|  | 1st Digit | S | Use | DC3501
|  |  | U | Use | DC3500 (note the only 90-264Vac is supported-if 24Vac/dc power is needed then select 3501)
Table II
|  | 1st Digit | 0 | Use | If PC6301 or PC6304 then Table II : -0xxx- else Table II : -1xxx-
|  |  | 2 | Use | Table II : -2xxx-
|  |  | 3 | Use | Table II : -1xxx- Note : TPS integration is not available on the UDC3500
|  |  | 4 | Use | Table II : -2xxx-
|  | 2nd Digit | 0 | Use | Table II : -x000-
|  |  | A | Use | Table II : -x000-
|  |  | B | Use | Table II : -xA00-
|  |  | C | Use | Table II : -x020-
|  |  | D | Use | Table II : -xA20-
|  | 3rd Digit | 0 | Use | Nothing to do
|  |  | P | Use | Note : Ensure the number of I/Os necessary for the application allow the possibility to power 2 transmitter.
Table III
|  | 1st Digit | 4 | Use | Table III : -x22-
|  |  | 5 | Use | Table III : -x22-
|  |  | 6 | Use | Table III : -x??-
|  | 2nd Digit | 0 | Use | Table III : -1xx-
|  |  | 1 | Use | Table III : -1xx-
|  |  | 2 | Use | Table III : -1xx-
|  |  | 3 | Use | Table III : -3xx-
|  |  | 5 | Use | Table III : -2xx-
|  |  | 6 | Use | Table III : -?xx- Note : 10-50mA outputs not available on the 3500
|  |  | 7 | Use | Table III : -?xx- Note : Pulse input is not available on the 3500
Table IV
|  | 1st Digit | 0 | Use | Table IV : -00000-
|  |  | T | Use | Table IV : -0T000-
|  |  | F | Use | Table IV : -00000- Note FM not available
|  |  | C | Use | Table IV : -10000-
|  |  | A | Use | Table IV : -10000- Note FM not available
|  |  | B | Use | Table IV : -1T000- Note FM not available
|  |  | D | Use | Table IV : -0T000- Note FM not available
|  |  | E | Use | Table IV : -1T000-
Table V
|  | 1st Digit | 02 | Use | Table V : -00-0
|  |  | 0E | Use | Table V : -E0-0

## AC (hidden)
Standard Controller Model |  | DC230B | DC230B | 365 | 365 | DC2500 | Digital Controller for use with 90 to 264Vac Power | DC2500 | DC2500 | 372 | 372
Digital Indicator Model |  | DC230I |  | 345 |  | DC2501 | Digital Controller for use with 24Vac/dc Power | DC2501 |  | 428
Limit Controller Model |  | DC230L |  | 380
TABLE I | [5 empty] | TABLE I - Specify Control Output and/or Alarms
| None | 0 | E | 0 | 0 | Output #1 | None (Can be used as an indicator only) | 0 | E | 0 | 0
| Relay, SS 1 amp | A |  | 0 |  |  | Solid State Relay (1 Amp) | A |  | 0
Output #1 | Current | C |  | 30 |  |  | Current Output (4 to 20ma, 0 to 20 ma) | C |  | 31
| Relay, E-M 5 amp | E |  | 0 |  |  | Electro Mechanical Relay (5 Amp Form C) | E |  | 0
| Relay, E-M 10 amp & one 5 amp Alarm Relay | R |  | 85 |  |  | Dual 2 Amp Relays (Both are Form A) (Heat/Cool Applications) | R |  | 51
| Relay, SS 10 amp (external) | S |  | 105 |  |  | Open Collector transistor output | T |  | 16
| Open Collector Output | T |  | 15 |  | Output #2 and Alarm #1 or Alarms 1 and 2 | No Additional Outputs or Alarms | 0 | B | 0 | 31
[7 empty] | Solid State Relay (1 Amp) Plus Alarm 1 (5 Amp Form C Relay) | A |  | 61
Output #2 | No additional Outputs or Alarms | 0 | 0 | 0 | 0 |  | E-M Relay (5 Amp Form C) Plus Alarm 1 (5 Amp Form C Relay) | B |  | 31
or | Relay, SS 1 amp and Alarm 1 | A |  | 60 |  |  | E-M Relay (5 Amp Form C) Plus Alarm 1 (5 Amp Form C Relay) | E |  | 61
Alarm #2 | Relay, E-M and Alarm 1 | E |  | 60 |  |  | Open Collector Plus Alarm 1 (5 Amp Form C Relay) | T |  | 76
and | Relay, SS 10 amp and Alarm 1 | S |  | 150
Alarm #1 | Open Collector Output and Alarm 1 | T |  | 75
TABLE II | [5 empty] | TABLE II - Communications and Software Selections
External | None | 0 | 0 | 0 | 0 | Communications | None | 0 | 2 | 0 | 158
Interface | RS-422/485/ASCII + MODBUS | 1 |  | 155 |  |  | Auxiliary Output/Digital Inputs (1 Aux and 1 DI or 2 DI) | 1 |  | 107
| Auxiliary Output or Digital Input | 2 |  | 105 |  |  | RS-485 Modbus Plus Auxiliary Output/Digital Inputs | 2 |  | 158
[7 empty] | 10 Base-T Ethernet (Modbus RTU) Plus Auxiliary Output/Digital Inputs | 3 |  | 173
Software | Single Display with Accutune II on DC230B | 0 | 0 | 0 | 0 |  | Profibus-DB Plus Auxiliary Output/Digital Inputs (Future Release) | 4
Options | Dual Display, Manual/Auto plus Accutune II | A |  | 30 |  |  | Device Net Plus Auxiliary Output/Digital Inputs (Future Release) | 5
| Set Point Programming (SPP) plus Dual Display | B |  | 90 |  | Software Selections | Standard Functions, Single Display | 0 | L | 0 | 10
| plus Manual/Auto and Accutune II | [5 empty] | Dual Display with Auto/Manual | A |  | 25
[7 empty] | Set Point Programming (12 Segments) Dual Display, Auto/Manual | B |  | 91
[7 empty] | Limit Controller | L |  | 10
[6 empty] | Infrared interface | None | 0 | R | 0 | 25
[7 empty] | Infrared Interface Included (Can be used with a Pocket PC) | R |  | 25
TABLE III | [5 empty] | TABLE III - Input 1 can be changed in the field using external resistors
| T/C, RTD, Radiamatic, mV, 0-5V, 1-5V, | 1 | 1 | 0 | 0 | Input 1 | TC, RTD, mV, 0-5V, 1-5V | 1 | 2 | 0 | 0
PV | 0-20mA, 4-20mA | [5 empty] | TC, RTD, mV, 0-5V, 1-5V, 0-20mA, 4-20mA | 2 |  | 0
Input | T/C, RTD, Radiamatic, mV, 0-5V, 1-5V, | 2 |  | 40 |  |  | TC, RTD, mV, 0-5V, 1-5V, 0-20mA, 4-20mA, 0-10V | 3 |  | 41
0-20mA, 4-20mA, 0-10V
Optional | None | 0 | 0 | 0 | 0 | Input 2 | None | 0 | 0 | 0 | 0
Input | 0-2V, 0-5V, 1-5V, 0-20mA, 4-20mA | 1 |  | 105 |  |  | 0-5V, 1-5V, 0-20mA, 4-20mA | 1 |  | 107
TABLE IV | [5 empty] | TABLE IV - Options
| 90-264 Vac Power | 0 | 0 | 0 | 0 | Approvals | CE, UL and CSA (Standard) | 0 | 0 | 0 | 0
Options | 24 Vac/dc Power | 1 |  | 55 |  |  | CE, UL, CSA and FM | 1 |  | 30
[6 empty] | Tags | None | 0 | 0 | 0 | 0
| CE, UL & AGA Standard | 0 | 0 | 0 | 0 |  | Stainless Steel Customer ID Tag - 3 lines w/22 character/line | T |  | 30
| CE, UL, CSA, AGA & FM | A |  | 30
| CE | B |  | 0 |  | Future Options | None | 0 | 0 | 0 | 0
[7 empty] | None | 0 | 0 | 0 | 0
| None | 0 | 0 | 0 | 0 |  | None | 0 | 0 | 0 | 0
| Customer ID Tag | T |  | 30
| None | 0 | P | 0 | 15
| Rear Terminal Kit | P |  | 15
| Gray Elastomer Bezel | 0 |  | 0 | #N/A
| Blue Elastomer Bezel | B |  | 0
| Tan Elastomer Bezel | T |  | 0
| None (Future) | 0 |  | 0 | 0
| None (Future) | 0 |  | 0 | 0
TABLE V | [5 empty] | TABLE V - Product Manuals
Manual | Manual on CD | 2 | E | 0 | 10 | Manuals | Manual on CD | 0 | F | 0 | 10
| English | E |  | 10 |  |  | English Manual (51-55-XX-XX) | E |  | 10
| French | F |  | 10 |  |  | French Manual (51-55-XX-XY) | F |  | 10
| German | G |  | 10 |  |  | German Manual (51-55-XX-YX) | G |  | 10
| Italian | I |  | 10 |  |  | Italian Manual (51-55-XX-YY) | I |  | 10
| Spanish | S |  | 10 |  |  | Spanish Manual (51-55-XX-YZ) | S |  | 10
Other | None | 0 | 0 | 0 | 0 | Certificate | None | 0 | 0 | 0 | 0
| Certificate of Conformance (F3391) | C |  | 30 |  |  | Certificate of Conformance (F3391) | C |  | 30
| Special Instrument Requirement | S |  | 0
TABLE VI
No Selection |  | 0 | 0 | 0 | 0
[5 empty] | #N/A | [5 empty] | 606

## AC 3200 (hidden)
Digital Controller for use with 90 to 264Vac Power |  | DC3200 | DC3200 | 565 |  | 565 | 773
Digital Controller for use with 24Vac/dc Power |  | DC3201 |  | 590
TABLE I - Specify Control Output and/or Alarms
Output #1 | Current Output (4 to 20ma, 0 to 20 ma) | A | E | 0 |  | 0 | C
| Electro Mechanical Relay (5 Amp Form C) | C |  | 0 |  |  | E
| Solid State Relay (1 Amp) | E |  | 0 |  |  | A
| Open Collector transistor output | R |  | 15 |  |  | T
| Dual 2 Amp Relays (Both are Form A) (Heat/Cool Applications) | T |  | 0 |  |  | R
Output #2 and Alarm #1 or Alarms 1 and 2 | No Additional Outputs or Alarms | 0 | E | 0 |  | 56 | 0 | 0
| One Alarm Relay Only | A | E | 56 |  |  | B | 30
| E-M Relay (5 Amp Form C) Plus Alarm 1 (5 Amp Form C Relay) | B |  | 31 |  |  | E | 55
| Solid State Relay (1 Amp) Plus Alarm 1 (5 Amp Form C Relay) | E |  | 56 |  |  | A | 55
| Open Collector Plus Alarm 1 (5 Amp Form C Relay) | T |  | 56 |  |  | T | 55
TABLE II - Communications and Software Selections
Communications | None | 0 | 0 | 0 |  | 0
| Auxiliary Output/Digital Inputs (1 Aux and 1 DI or 2 DI) | 1 |  | 122
| RS-485 Modbus Plus Auxiliary Output/Digital Inputs | 2 |  | 163
| 10 Base-T Ethernet (Modbus RTU) Plus Auxiliary Output/Digital Inputs | 3 |  | 173
Software Selections | Standard Functions, Includes Accutune | 0 | 0 | 0 |  | 0
| Math Option | A |  | 153
| Set Point Programming (1 Program, 12 Segments) | B |  | 91
| Set Point Programming Plus Math | C |  | 215
Reserved | No Selection | 0 |  | 0
Infrared interface | Infrared Interface Included (Can be used with a Pocket PC) | R |  | 0
TABLE III - Input 1 can be changed in the field using external resistors |  | Selection |  | U.S.$
Input 1 | TC, RTD, mV, 0-5V, 1-5V | 1 | 1 | 0 |  | 0
| TC, RTD, mV, 0-5V, 1-5V, 0-20mA, 4-20mA | 2 |  | 10
| TC, RTD, mV, 0-5V, 1-5V, 0-20mA, 4-20mA, 0-10V | 3 |  | 41
| Carbon, Oxygen or Dewpoint (Requires Input 2) | 160 |  | 215
Input 2 | None | 0 | 40 | 0 |  | 122
| TC, RTD, mV, 0-5V, 1-5V, 0-20mA, 4-20mA | 10 |  | 122
| TC, RTD, mV, 0-5V, 1-5V, 0-20mA, 4-20mA, 0-10V | 20 |  | 158
| Slidewire Input (Requires two Relay Outputs) | 40 |  | 122
TABLE IV - Options
Approvals | CE (Standard) | 0 | 1 | 0 |  | 30
| CE, UL and CSA | 1 |  | 30
Tags | None | 0 | 0 | 0 |  | 0
| Linen Customer ID Tag - 3 lines w/22 characters/line | T |  | 40
| Linen Customer ID Tag - 3 lines w/22 characters/line | T |  | 40
Future Options | None | 0 |  | 0
| None | 0 |  | 0
| None | 0 |  | 0
TABLE V - Product Manuals
Manuals | Product Information on CD - All Languages | 0 | 0 | 0 |  | 0
| English Manual | E |  | 10 | 717.854
| French Manual | F |  | 10
| German Manual | G |  | 10
| Italian Manual | I |  | 10
| Spanish Manual | S |  | 10
Certificate | None | 0 | 0 | 0 |  | 0
| Certificate of Conformance (F3391) | C |  | 30
TABLE VI
No Selection | None | 0 |  | 0